## Sheet1
FunctionalObject |  | FAN |  |  | rdl:RDS415169 |  | A <FAN> is a <FunctionalObject> that is capable of <DELIVERING> or <EXHAUSTING> volumes of vapour or gas at low differential pressure |  |  | dm:ClassOfFunctionalObject
ARTEFACT | FAN |  | AXIAL FAN |  |  | rdl:RDS414044 |  | An <AXIAL FAN> is an <ARTEFACT> and a <FAN> where the flow is along axis of shaft and the pressure ratio is relatively low |  |  | dm:ClassOfInanimatePhysicalObject
AXIAL FAN | EXPLOSION-PROTECTED ELECTRICAL APPARATUS |  |  | EXPLOSION PROOF AXIAL FAN |  |  | rdl:RDS13740100 |  | An <EXPLOSION PROOF AXIAL FAN> is an <AXIAL FAN> and an <EXPLOSION-PROTECTED ELECTRICAL APPARATUS>. |  |  | dm:ClassOfInanimatePhysicalObject
ARTEFACT | FAN |  | COOLING FAN |  |  | rdl:RDS5772034 |  | A <COOLING FAN> is an <ARTEFACT> and a <FAN> intended to be used for cooling |  |  | dm:ClassOfInanimatePhysicalObject
COOLING FAN |  |  |  | ELECTRIC MOTOR COOLING FAN |  |  | rdl:RDS7248560 |  | An <ELECTRIC MOTOR COOLING FAN> is a <COOLING FAN> intended to be installed in an electric motor. |  |  | dm:ClassOfInanimatePhysicalObject
ARTEFACT | FAN |  | CROSS FLOW FAN |  |  | rdl:RDS1317283871 |  | A <CROSS FLOW FAN> is an <ARTEFACT> and a <FAN> that is usually long in relation to the diameter, so the flow approximately remains two-dimensional away from the ends. The <CFF> uses an impeller with forward curved blades, placed in a housing consisting of a rear wall and vortex wall |  |  | dm:ClassOfInanimatePhysicalObject
ARTEFACT | FAN |  | ELECTRIC FAN |  |  | rdl:RDS1317287551 |  | An <ELECTRIC FAN> is an <ARTEFACT> and a <FAN> powered by an <ELECTRIC MOTOR> |  |  | dm:ClassOfInanimatePhysicalObject
ARTEFACT | FAN |  | FORCED DRAFT FAN |  |  | rdl:RDS403702551 |  | A <FORCED DRAFT FAN> is an <ARTEFACT> and a <FAN> that is intended to provide enhanced flow of air by powered means |  |  | dm:ClassOfInanimatePhysicalObject
ARTEFACT | FAN |  | METAL FAN |  |  | rdl:RDS1128734 |  | A <METAL FAN is an <ARTEFACT> and a <FAN> that is made of metal |  |  | dm:ClassOfInanimatePhysicalObject
ARTEFACT | FAN |  | NATURAL DRAFT FAN |  |  | rdl:RDS815804 |  | A <NATURAL DRAFT FAN> is an <ARTEFACT> and a <FAN> intended to provide enhanced flow of air and is turned by wind |  |  | dm:ClassOfInanimatePhysicalObject
ARTEFACT | FAN |  | RADIAL FAN |  |  | rdl:RDS414089 |  | A <RADIAL FAN> is an <ARTEFACT> and a <FAN> with axial inlet and radial outlet |  |  | dm:ClassOfInanimatePhysicalObject
RADIAL FAN |  |  |  | EXPLOSION PROOF CENTRIFUGAL FAN |  |  | rdl:RDS13740380 |  | An <EXPLOSION PROOF CENTRIFUGAL FAN> is a <RADIAL FAN> that can be used in areas with risk of explosion from <HYDROCARBONS> |  |  | dm:ClassOfInanimatePhysicalObject
ARTEFACT | FAN |  | THERMOPLASTIC FAN |  |  | rdl:RDS1128599 |  | A <THERMOPLASTIC FAN> is an <ARTEFACT> and a <FAN> that is made of thermoplastic |  |  | dm:ClassOfInanimatePhysicalObject
ARTEFACT | FAN |  | VENTILATION FAN |  |  | rdl:RDS5772079 |  | A <VENTILATION FAN> is an <ARTEFACT> and a <FAN> intended to be used for ventilation |  |  | dm:ClassOfInanimatePhysicalObject