## Sheet1
FunctionalObject |  |  | GAUGE |  |  |  |  | rdl:RDS2220130 |  | A <GAUGE> is a <FunctionalObject> that is capable of <MEASURING> and <INDICATING> without auxiliary energy supply |  |  |  |  | dm:ClassOfFunctionalObject
GAUGE | INSTRUMENTATION FUNCTION |  |  | PROCESS GAUGE |  |  |  |  | rdl:RDS462644 |  | A <PROCESS GAUGE> is a <INSTRUMENTATION FUNCTION> and a <GAUGE> that is a stand-alone device for measuring or sighting a process variable |  |  |  |  | dm:ClassOfFunctionalObject
FLOW MEASURING INSTRUMENT | PROCESS GAUGE |  |  |  | FLOW GAUGE |  |  |  |  | rdl:RDS879929 |  | A <FLOW GAUGE> is a <FLOW MEASURING INSTRUMENT> and a <PROCESS GAUGE> intended to indicate a liquid or gas flow |  |  |  |  | dm:ClassOfFunctionalObject
FLOW GAUGE | INSTRUMENTATION ITEM |  |  |  |  | VARIABLE AREA FLOW INDICATOR |  |  |  |  | rdl:RDS883529 |  | A <VARIABLE AREA FLOW INDICATOR> is an <INSTRUMENTATION ITEM> and a <FLOW GAUGE> where a weighted float rises in a tapered tube as the flow rate increases; the float stops rising when area between float and tube is large enough that the weight of the float is balanced by the drag of fluid flow |  |  |  |  | dm:ClassOfInanimatePhysicalObject
LEVEL MEASURING INSTRUMENT | PROCESS GAUGE |  |  |  | LEVEL GAUGE |  |  |  |  | rdl:RDS462689 |  | A <LEVEL GAUGE> is a <LEVEL MEASURING INSTRUMENT> and a <PROCESS GAUGE> using a <LEVEL MEASURING ELEMENT>, that is intended to display a representation of a measured level |  |  |  |  | dm:ClassOfFunctionalObject
INSTRUMENTATION ITEM | LEVEL GAUGE |  |  |  |  | LEVEL GAUGE GLASS |  |  |  |  | rdl:RDS430199 |  | A <LEVEL GAUGE GLASS> is an <INSTRUMENTATION ITEM> and a <LEVEL GAUGE> that is a glass tubular device or vertical cylindrical device, often graduated, that indicates the level or amount of liquid in a tank or vessel |  |  |  |  | dm:ClassOfInanimatePhysicalObject
LEVEL GAUGE | [5 empty] | MAGNETIC LEVEL GAUGE |  |  |  |  | rdl:RDS884969 |  | A <MAGNETIC LEVEL GAUGE> is a <LEVEL GAUGE> that use a float containing a magnet to transfer information about its position to a indicator rail with white and red flaps mounted on the outside of the tube |  |  |  |  | dm:ClassOfInanimatePhysicalObject
PRESSURE MEASURING INSTRUMENT | PROCESS GAUGE |  |  |  | PRESSURE GAUGE |  |  |  |  | rdl:RDS1459688721 |  | A <PRESSURE GAUGE> is a <PROCESS GAUGE> and a <PRESSURE MEASURING INSTRUMENT> using a <PRESSURE MEASURING ELEMENT> |  |  |  |  | dm:ClassOfFunctionalObject
ABSOLUTE PRESSURE MEASURING INSTRUMENT | PRESSURE GAUGE |  |  |  |  | ABSOLUTE PRESSURE GAUGE |  |  |  |  | rdl:RDS850122 |  | An <ABSOLUTE PRESSURE GAUGE> is a <PRESSURE GAUGE> and an <ABSOLUTE PRESSURE MEASURING INSTRUMENT> using a <ABSOLUTE PRESSURE MEASURING ELEMENT> |  |  |  |  | dm:ClassOfFunctionalObject
DIFFERENTIAL PRESSURE MEASURING INSTRUMENT | PRESSURE GAUGE |  |  |  |  | DIFFERENTIAL PRESSURE GAUGE |  |  |  |  | rdl:RDS850814 |  | A <DIFFERENTIAL PRESSURE GAUGE> is a <PRESSURE GAUGE> and a <DIFFERENTIAL PRESSURE MEASURING INSTRUMENT> using a <DIFFERENTIAL PRESSURE MEASURING ELEMENT> |  |  |  |  | dm:ClassOfFunctionalObject
DRAFT PRESSURE MEASURING INSTRUMENT | PRESSURE GAUGE |  |  |  |  | DRAFT PRESSURE GAUGE |  |  |  |  | rdl:RDS2220212 |  | A <DRAFT PRESSURE GAUGE> is a <PRESSURE GAUGE> and a <DRAFT PRESSURE MEASURING INSTRUMENT> |  |  |  |  | dm:ClassOfFunctionalObject
GAUGE PRESSURE MEASURING INSTRUMENT | PRESSURE GAUGE |  |  |  |  | GAUGE PRESSURE GAUGE |  |  |  |  | rdl:RDS416159 |  | A <GAUGE PRESSURE GAUGE> is a <PRESSURE GAUGE> and a <GAUGE PRESSURE MEASURING INSTRUMENT> |  |  |  |  | dm:ClassOfFunctionalObject
GAUGE PRESSURE GAUGE | [6 empty] | PRESSURE MEMORY GAUGE |  |  |  |  | rdl:RDS2224532 |  | A <PRESSURE MEMORY GAUGE> is a <GAUGE PRESSURE GAUGE> that measures and stores downhold pressures, enabling the data to be read when the tool assembly is returned to the surface |  |  |  |  | dm:ClassOfInanimatePhysicalObject
PRESSURE GAUGE | [5 empty] | MANOMETER |  |  |  |  | rdl:RDS880874 |  | A <MANOMETER> is a <PRESSURE GAUGE> for low pressure measurement, consisting of a tube filled with a liquid, the level of the liquid being determined by the fluid pressure and the height of the liquid being indicated on a scale |  |  |  |  | dm:ClassOfFunctionalObject
ARTEFACT | MANOMETER | [5 empty] | INCLINED TUBE MANOMETER |  |  |  |  | rdl:RDS2228189 |  | An <INCLINED TUBE MANOMETER> is an <ARTEFACT> and a <MANOMETER> with a transparent tube that is set at an angle to horizontal in order to extend the scale for better readablility |  |  |  |  | dm:ClassOfInanimatePhysicalObject
ARTEFACT | MANOMETER | [5 empty] | U-TUBE MANOMETER |  |  |  |  | rdl:RDS883394 |  | A <U-TUBE MANOMETER> is an <ARTEFACT> and a <MANOMETER> that is a vertical or inclined U-shaped tube half-full of liquid where the measured pressure is applied to one side of the tube whilst the reference pressure (which might be of the atmosphere) is applied to the other. The difference in liquid level represents the applied pressure |  |  |  |  | dm:ClassOfInanimatePhysicalObject
ARTEFACT | MANOMETER | [5 empty] | WELL TYPE MANOMETER |  |  |  |  | rdl:RDS2228190 |  | A <WELL TYPE MANOMETER> is an <ARTEFACT> and a <MANOMETER> with a double glass tube, where one leg has a relatively small diameter, and the second leg is a reservoir; the level of the liquid in the reservoir does not change appreciably with change of pressure |  |  |  |  | dm:ClassOfInanimatePhysicalObject
PROCESS GAUGE | TEMPERATURE MEASURING INSTRUMENT |  |  |  | TEMPERATURE GAUGE |  |  |  |  | rdl:RDS417824 |  | A <TEMPERATURE GAUGE> is a <PROCESS GAUGE> using a <TEMPERATURE MEASURING ELEMENT> that is intended to measure and indicate a <TEMPERATURE> |  |  |  |  | dm:ClassOfFunctionalObject
INSTRUMENTATION ITEM | TEMPERATURE GAUGE |  |  |  |  | BIMETALLIC TEMPERATURE GAUGE |  |  |  |  | rdl:RDS850859 |  | A <BIMETALLIC TEMPERATURE GAUGE> is an <INSTRUMENTATION ITEM> and a <TEMPERATURE GAUGE> that is using a bimetallic strip as temperature element |  |  |  |  | dm:ClassOfInanimatePhysicalObject
BIMETALLIC TEMPERATURE GAUGE | [6 empty] | BIMETALLIC TEMPERATURE GAUGE CENTRE BACK STEM |  |  |  |  | rdl:RDS1471947541 |  | A <BIMETALLIC TEMPERATURE GAUGE CENTRE BACK STEM> is an <ARTEFACT> and a <TEMPERATURE GAUGE> with a <TEMPERATURE MEASURING ELEMENT - BIMETAL> where the stem is protuding from the centre of the back of the housing |  |  |  |  | dm:ClassOfInanimatePhysicalObject
BIMETALLIC TEMPERATURE GAUGE | [6 empty] | BIMETALLIC TEMPERATURE GAUGE RADIAL BOTTOM STEM |  |  |  |  | rdl:RDS1471952771 |  | A <BIMETALLIC TEMPERATURE GAUGE RADIAL BOTTOM STEM> is an <ARTEFACT> and a <TEMPERATURE GAUGE> with a <TEMPERATURE MEASURING ELEMENT - BIMETAL> where the stem is protuding radially from the bottom of the housing |  |  |  |  | dm:ClassOfInanimatePhysicalObject
BIMETALLIC TEMPERATURE GAUGE | [6 empty] | BIMETALLIC TEMPERATURE GAUGE CENTRE BACK STEM EVERY ANGLE |  |  |  |  | rdl:RDS1471956011 |  | A <BIMETALLIC TEMPERATURE GAUGE CENTRE BACK STEM EVERY ANGLE> is an <ARTEFACT> and a <TEMPERATURE GAUGE> with a <TEMPERATURE MEASURING ELEMENT - BIMETAL> where the stem is protuding from the centre of the back of the housing, and that can be mounted at any angle |  |  |  |  | dm:ClassOfInanimatePhysicalObject
HANDHELD TEMPERATURE METER | TEMPERATURE GAUGE | TEMPERATURE MEASURING INSTRUMENT - INFRARED |  |  |  | RADIATION THERMOMETER |  |  |  |  | rdl:RDS2226388 |  | A <RADIATION THERMOMETER> is a <HANDHELD TEMPERATURE METER> and a <TEMPERATURE GAUGE> and a <TEMPERATURE MEASURING INSTRUMENT - INFRARED> |  |  |  |  | dm:ClassOfInanimatePhysicalObject
INSTRUMENTATION ITEM | TEMPERATURE GAUGE |  |  |  |  | THERMOMETER |  |  |  |  | rdl:RDS5779382 |  | A <THERMOMETER> is an <INSTRUMENTATION ITEM> and a <TEMPERATURE GAUGE>, typically one consisting of a narrow, hermetically sealed glass tube marked with graduations and having at one end a bulb containing mercury or alcohol which extends along the tube as it expands |  |  |  |  | dm:ClassOfInanimatePhysicalObject
ANALOGUE INDICATOR | THERMOMETER | [5 empty] | ANALOGUE TEMPERATURE INDICATOR |  |  |  |  | rdl:RDS17605667 |  | An <ANALOGUE TEMPERATURE INDICATOR> is an <ANALOGUE INDICATOR> that indicates temperature in an analogue way |  |  |  |  | dm:ClassOfInanimatePhysicalObject
THERMOMETER | [6 empty] | THERMOMETER 135 DEGREES LEFT |  |  |  |  | rdl:RDS1471868161 |  | A <THERMOMETER 135 DEGREES LEFT> is a <THERMOMETER> where the stem is at a 135 degree angle with the axis of the <GAUGE>, pointing left |  |  |  |  | dm:ClassOfInanimatePhysicalObject
THERMOMETER | [6 empty] | THERMOMETER 135 DEGREES RIGHT |  |  |  |  | rdl:RDS1471868951 |  | A <THERMOMETER 135 DEGREES RIGHT> is a <THERMOMETER> where the stem is at a 135 degree angle with the axis of the <GAUGE>, pointing right |  |  |  |  | dm:ClassOfInanimatePhysicalObject
THERMOMETER | [6 empty] | THERMOMETER STRAIGHT |  |  |  |  | rdl:RDS1471867731 |  | A <THERMOMETER STRAIGHT> is a <THERMOMETER> where the stem is aligned with the axis of the thermometer |  |  |  |  | dm:ClassOfInanimatePhysicalObject
THERMOMETER | [6 empty] | THERMOMETER WITH CELSIUS-FARENHEIT TEMPERATURE SCALE |  |  |  |  | rdl:RDS1471722991 |  | A <THERMOMETER WITH CELSIUS-FARENHEIT TEMPERATURE SCALE> is a <THERMOMETER> that has a celsius-farenheit temperature indicator scale |  |  |  |  | dm:ClassOfInanimatePhysicalObject
THERMOMETER | [6 empty] | THERMOMETER WITH CELSIUS TEMPERATURE SCALE |  |  |  |  | rdl:RDS1471721551 |  | A <THERMOMETER WITH CELSIUS TEMPERATURE SCALE> is a <THERMOMETER> that has a celsius temperature indicator scale |  |  |  |  | dm:ClassOfInanimatePhysicalObject
THERMOMETER | [6 empty] | THERMOMETER WITH FARENHEIT TEMPERATURE SCALE |  |  |  |  | rdl:RDS1471722181 |  | A <THERMOMETER WITH FARENHEIT TEMPERATURE SCALE> is a <THERMOMETER> that has a farenheit temperature indicator scale |  |  |  |  | dm:ClassOfInanimatePhysicalObject
THERMOMETER | [6 empty] | V-SHAPED THERMOMETER |  |  |  |  | rdl:RDS1471891631 |  | A <V-SHAPED THERMOMETER> is a <THERMOMETER> where the opening in the upper case has a V-shape |  |  |  |  | dm:ClassOfInanimatePhysicalObject
PROCESS GAUGE | VELOCITY MEASURING INSTRUMENT |  |  |  | VELOCITY GAUGE |  |  |  |  | rdl:RDS2226550 |  | A <VELOCITY GAUGE> is a <PROCESS GAUGE> and a <VELOCITY MEASURING INSTRUMENT> using a <VELOCITY MEASURING ELEMENT> that is intended to measure and indicate <VELOCITY> |  |  |  |  | dm:ClassOfFunctionalObject
PROCESS GAUGE |  |  |  |  | VOLUME GAUGE |  |  |  |  | rdl:RDS2226549 |  | A <VOLUME GAUGE> is a <PROCESS GAUGE> and a <VOLUME MEASURING INSTRUMENT> using a <VOLUME MEASURING ELEMENT> that is intended to measure and indicate <VOLUME> |  |  |  |  | dm:ClassOfFunctionalObject
FLOW TOTALIZER | VOLUME GAUGE |  |  |  |  | POSITIVE DISPLACEMENT TOTALIZER |  |  |  |  | rdl:RDS2226590 |  | A <POSITIVE DISPLACEMENT TOTALIZER> is a <VOLUME GAUGE> and a <FLOW TOTALIZER> using a <VOLUME FLOW MEASURING ELEMENT - POSITIVE DISPLACEMENT> that is intended to measure <FLOW RATE> and indicate the total <VOLUME> of a fluid that has flowed |  |  |  |  | dm:ClassOfInanimatePhysicalObject
FLOW TOTALIZER | VOLUME GAUGE |  |  |  |  | TURBINE TOTALIZER |  |  |  |  | rdl:RDS2226591 |  | A <TURBINE TOTALIZER> is a <VOLUME GAUGE> and a <FLOW TOTALIZER> using a <VOLUME FLOW MEASURING ELEMENT - TURBINE> that is intended to measure <FLOW RATE> and indicate the total <VOLUME> of a fluid that has flowed |  |  |  |  | dm:ClassOfFunctionalObject
GAUGE | INSTRUMENTATION ITEM |  |  | TANK GAUGE |  |  |  |  | rdl:RDS883169 |  | A <TANK GAUGE> is an <INSTRUMENTATION ITEM> and a <GAUGE> designed for being mounted on a tank; usually a level measurement |  |  |  |  | dm:ClassOfInanimatePhysicalObject
TANK GAUGE |  |  |  |  | SERVO TANK GAUGE |  |  |  |  | rdl:RDS1009304 |  | A <SERVO TANK GAUGE> is a <TANK GAUGE> that is intended to intermittently lower a displacer to measure a liquid level, bottom level, interface level or density |  |  |  |  | dm:ClassOfInanimatePhysicalObject